## Slide 1
POLYPHASE CIRCUITS
LEARNING GOALS
Three Phase Circuits
Advantages of polyphase circuits
Three Phase Connections
Basic configurations for three phase circuits
Source/Load Connections
Delta-Y connections
Power Relationships
Study power delivered by three phase circuits
Power Factor Correction
Improving power factor for three phase circuits

## Slide 2
THREE PHASE CIRCUITS
Theorem
For a balanced three phase circuit the instantaneous power is constant

## Slide 3
Proof of Theorem
For a balanced three phase circuit the instantaneous power is constant

## Slide 4
THREE-PHASE CONNECTIONS
Positive sequence
a-b-c
Y-connected
loads
Delta connected loads

## Slide 5
SOURCE/LOAD CONNECTIONS
BALANCED Y-Y CONNECTION
Positive sequence
phase voltages
Line voltages
For this balanced circuit it is enough to analyze one phase

## Slide 6
Relationship between
phase and line voltages
LEARNING EXAMPLE
For an abc sequence, balanced Y - Y three phase circuit
Determine the phase voltages
Balanced Y - Y
Positive sequence
a-b-c
Positive sequence
phase voltages
The phasor diagram could be rotated by any angle

## Slide 7
LEARNING EXAMPLE
For an abc sequence, balanced Y - Y three phase circuit
Determine line currents and load voltages
Because circuit is balanced
data on any one phase are
sufficient
Chosen
as reference
Abc sequence

## Slide 8
LEARNING EXTENSION
For an abc sequence, balanced Y - Y three phase circuit
Relationship between
phase and line voltages

## Slide 9
LEARNING EXTENSION
For an abc sequence, balanced Y - Y three phase circuit
Determine source phase voltages
Currents are not required. Use inverse
voltage divider
Positive sequence
a-b-c

## Slide 10
DELTA CONNECTED SOURCES
Convert to an equivalent Y connection
Relationship between
phase and line voltages
Example

## Slide 11
LEARNING EXAMPLE
Determine line currents and line voltages at the loads
Source is Delta connected.
Convert to equivalent Y
Analyze one phase
Determine the other phases using the balance

## Slide 12
LEARNING EXTENSION
Compute the magnitude of the line voltage at the load
Source is Delta connected.
Convert to equivalent Y
Analyze one phase
Only interested in magnitudes!

## Slide 13
DELTA-CONNECTED LOAD
Method 1: Solve directly
Positive sequence
phase voltages
Method 2: We can also convert the delta
connected load into a Y connected one.
The same formulas derived for resistive
circuits are applicable to impedances
Line-phase current
relationship

## Slide 14
SUBTRACT THE FIRST TWO THEN ADD
TO THE THIRD TO GET Ra
REPLACE IN THE THIRD AND SOLVE FOR R1

## Slide 15
Line-phase current
relationship
LEARNING EXTENSION

## Slide 16
LEARNING EXAMPLE
Delta-connected load consists of 10-Ohm resistance in series
with 20-mH inductance. Source is Y-connected, abc sequence,
120-V rms, 60Hz. Determine all line and phase currents
Line-phase current
relationship
Alternatively, determine first the line currents
and then the delta currents

## Slide 17
POWER RELATIONSHIPS
Line-phase current
relationship
Power factor angle
- Impedance angle

## Slide 18
LEARNING EXAMPLE
Determine the magnitude of the line
currents and the value of load impedance
per phase in the delta
Line-phase current
relationship
Power factor angle
- Impedance angle

## Slide 19
LEARNING EXAMPLE
For an abc sequence, balanced Y - Y three phase circuit
Because circuit is balanced
data on any one phase are
sufficient
Chosen
as reference
Abc sequence
Determine real and reactive power per phase at the load and total real, reactive and
complex power at the source

## Slide 20
LEARNING EXAMPLE
Determine the line currents and the combined power factor
inductive
capacitive
Continued ...

## Slide 21
LEARNING EXAMPLE
continued ….
inductive
capacitive

## Slide 22
LEARNING EXTENSION
A Y -Y balanced three-phase circuit has a line voltage of
208-Vrms. The total real power absorbed by the load is 12kW
at pf=0.8 lagging. Determine the per-phase impedance
of the load
Power factor angle
Impedance angle

## Slide 23
Source is Delta connected.
Convert to equivalent Y
Analyze one phase
LEARNING EXTENSION
Determine real, reactive and complex power at both load
and source

## Slide 24
LEARNING EXTENSION
A 480-V rms line feeds two balanced 3-phase loads.
The loads are rated
Load 1: 5kVA at 0.8 pf lagging
Load 2: 10kVA at 0.9 pf lagging.
Determine the magnitude of the line current from the 408-V rms source

## Slide 25
POWER FACTOR CORRECTION
Balanced
load
Low pf
lagging
Similar to single phase case.
Use capacitors to increase the
power factor
Keep clear about total/phase
power, line/phase voltages
To use capacitors this value
should be negative

## Slide 26
LEARNING EXAMPLE

## Slide 27
LEARNING EXAMPLE

## Slide 28
Determine the current
flowing. Convert line
voltages to phase voltages
LEARNING EXAMPLE
MEASURING POWER FLOW
Which circuit is the source and
what is the average power supplied?
Equivalent 1-phase circuit
System Y is the source
Phase differences
determine direction
of power flow!

## Slide 29
CAPACITOR SPECIFICATIONS
Capacitors for power factor correction are normally specified in VARs
LEARNING EXAMPLE
Choices available
Capacitor 1 is not rated at high enough
voltage!
Capacitor 3 is the best alternative

## Slide 30
LEARNING BY DESIGN
Proposed new store
1. Is the wire suitable?
2. What capacitance
would be required to
have a composite
pf =0.92 lagging
Capacitors are to be
Y - connected
Wire is OK
Polyphase